{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":94,"n_cols":22,"rows_kept":94,"merged":[[0,0,0,21],[1,0,2,0],[1,1,2,1],[1,2,2,2],[1,3,2,3],[1,4,2,4],[1,5,2,5],[1,6,2,6],[1,7,1,10],[1,11,2,11],[1,12,1,13],[1,14,1,15],[1,16,1,17],[1,18,1,19],[1,20,1,21],[3,0,3,21],[6,0,6,2],[11,0,12,0],[11,1,12,1],[11,2,12,2],[11,3,12,3],[11,4,12,4],[11,5,12,5],[11,6,12,6],[11,7,12,7],[11,8,12,8],[11,9,12,9],[11,10,12,10],[11,11,12,11],[11,12,12,12],[11,13,12,13],[11,14,12,14],[11,15,12,15],[11,16,12,16],[11,17,12,17],[11,18,12,18],[11,19,12,19],[13,0,14,0],[13,1,14,1],[13,2,14,2],[13,3,14,3],[13,4,14,4],[13,5,14,5],[13,6,14,6],[13,7,14,7],[13,8,14,8],[13,9,14,9],[13,10,14,10],[13,11,14,11],[13,12,14,12],[13,13,14,13],[13,14,14,14],[13,15,14,15],[13,16,14,16],[13,17,14,17],[13,18,14,18],[13,19,14,19],[18,0,18,2]],"flags":["formulas_cached_only"]}
["横峰县2024年小（二）型以上水库度汛方案表"]
["序号","水库名称","坝顶高程（米）","总库容（万立方米）","正常蓄水（米）","相应蓄水量（万立方米）","历史最高水位（米）","汛期控制水位",{"$nulls":3},"存在的主要问题及度汛措施","防汛行政责任人",null,"防汛主管责任人",null,"防汛管理责任人",null,"防汛技术责任人",null,"防汛巡查责任人"]
[{"$nulls":7},"4月1日至6月30日（米）","相应蓄水量（万立方米）","7月1日至9月30日（米）","相应蓄水量（万立方米）",null,"姓名","职务","姓名","职务","姓名","职务","姓名","职务","姓名","职务"]
["一、中型水库"]
[1,"姚源水库",121.5,1068.9,117,823.9,118.26,116,723.6,117,823.9,"加强巡查","刘永峰","县政协副主席","方忠泉","县水利局党组成员、副局长","孔凡盛","县水资源保护中心主任","马祥龙","县水利局河长办副主任","邹兴贵","站长"]
[2,"黄源水库",155.1,1098,151,926,152.73,150,876.6,151,926,"加强巡查","张华军","县政府副县长","林奇韬","县水利局党组成员","孔凡盛","县水资源保护中心主任","余元成","县水利局水资源股股长","吴金文","站长"]
["二、小（一）型水库"]
[1,"赭亭山水库",69.8,447,63.8,{"v":359,"d":"359.0"},64.15,62.8,{"v":353.37304075235113,"d":"353.4"},63.8,{"v":359,"d":"359.0"},"加强巡查","韩冠","县委常委、副县长","陈耿","八级职员","占卫喜","村支书兼主任","刘融","水利员","余叶飞\n余贵生","安全管理员"]
[2,"石马官塘水库",61.61,294,58.6,224,59.76,57.6,219,58.6,224,"上坝公路堆放了清淤弃料","汪剑飞","县政府常务副县长","杨兴堂","县水利局四级主任科员","孔凡盛","县水资源保护中心主任","许斌","县水利局工作人员","丁良虎","站长"]
[3,"坊源水库",74,398.58,70,309.3,71,69,288.12,70,309.3,"加强巡查","汪剑飞","县政府常务副县长","方原","龙门畈乡副书记","郑志君","支书","梅良凯","水务站站长","郑曾访\n金传火","安全员"]
[4,"石塘坞水库",100,315.5,74,250,75.8,73,242.1,74,250,"加强巡查","张建平","县人大常委会副主任","陈茂实 ","人大主席","兰林祥","村副书记","杨希圣","水利员","林宗录\n兰木旺","安全员"]
[5,"王家坞水库",77,220,72,180,73.2,71,176.25,72,180,"加强巡查","李海星","县政协主席","欧树兵","人大主席","周卫红","村支书","金剑伟","水利员","王运发","水库安全管理员"]
[{"$nulls":20},"张晓华","水库安全管理员"]
[6,"大山湾水库",75.35,101.84,69,76,70.86,68,74.35,69,76,"加强巡查","万光明","县政府副县长","欧树兵","人大主席","李世录","村支书","金剑伟","水利员","杨春林","水库安全管理员"]
[{"$nulls":20},"周金旺","水库安全管理员"]
[7,"枫林水库",76.6,162.53,72,149.23000000000002,73,71,124.95,72,149.23000000000002,"加强巡查","庄  严","副县长、公安局长","邓国松","副镇长","肖运鸿","村支部书记","万彧","水务站长","汪晓辉","水库安全员"]
[8,"关田水库",93,191.2,82,114,82,81,103.6,82,114,"加强巡查","夏汪洋","县政府副县长","邓国松","副镇长","陈根春","村总支书记","万彧","水务站长","陈根秋","水库安全员"]
[9,"上下坂水库",358,137,354,109,355.5,353,97.5,354,109,"加强巡查","项小军","县人大常委会副主任","陈高武","县水利局二级主任科员","孔凡盛","县水资源保护中心主任","滕建平","县水利局水政大队副大队长","余彪","站长"]
["三、小（二）型水库"]
[1,"城塘水库",65.5,28.8,62.1,23.2,63,61.1,{"v":22.826409017713367,"d":"22.8"},62.1,23.2,"加强巡查","喻炜","乡党委副书记","陈耿","八级职员","占卫喜","村支书兼主任","刘融","水利员","洪秋生","安全管理员"]
[2,"中塘水库",70.3,31.9,66.6,{"v":23,"d":"23.0"},67.95,65.6,{"v":22.654654654654657,"d":"22.7"},66.6,{"v":23,"d":"23.0"},"加强巡查","喻炜","乡党委副书记","陈耿","八级职员","占卫喜","村支书兼主任","刘融","水利员","余子平","安全管理员"]
[3,"毛源水库",70,85.16,67.5,{"v":71,"d":"71.0"},68.6,66.5,{"v":69.94814814814815,"d":"69.9"},67.5,{"v":71,"d":"71.0"},"加强巡查","陈耿","八级职员","陈耿","八级职员","张立荣","村支书兼主任","刘融","水利员","王卫兵","安全管理员"]
[4,"驼里岩水库",65,78.65,61.07,67.5,61.5,60.07,{"v":66.39471098739152,"d":"66.4"},61.07,67.5,"加强巡查","陈耿","八级职员","陈耿","八级职员","张立荣","村支书兼主任","刘融","水利员","张成龙","安全管理员"]
[5,"大新塘水库",58,62.49,55.5,50.3,56.42,54.5,{"v":49.39369369369369,"d":"49.4"},55.5,50.3,"加强巡查","张福寿","副乡长","陈耿","八级职员","张武生","村支书兼主任","刘融","水利员","张贵林","安全管理员"]
[6,"大垅水库",57,12.3,55.5,{"v":11.976315789473684,"d":"12.0"},56.5,54.5,{"v":11.760526315789473,"d":"11.8"},55.5,{"v":11.976315789473684,"d":"12.0"},"加强巡查","张福寿","副乡长","陈耿","八级职员","张武生","村支书兼主任","刘融","水利员","张武生","安全管理员"]
[7,"狮子岩水库",62,10.9,60,{"v":8.299999999999999,"d":"8.3"},60.3,59,{"v":8.161666666666665,"d":"8.2"},60,{"v":8.299999999999999,"d":"8.3"},"加强巡查","张福寿","副乡长","陈耿","八级职员","张武生","村支书兼主任","刘融","水利员","张小莉","安全管理员"]
[8,"竹家垅水库",61.7,21,59.4,{"v":17,"d":"17.0"},59.8,58.4,{"v":16.713804713804716,"d":"16.7"},59.4,{"v":17,"d":"17.0"},"加强巡查","张福寿","副乡长","陈耿","八级职员","张武生","村支书兼主任","刘融","水利员","张媛","安全管理员"]
[9,"莲塘水库",99.8,10.9,97.5,8.3,null,96.5,{"v":8.214871794871796,"d":"8.2"},97.5,8.3,"加强巡查","张福寿","副乡长","陈耿","八级职员","张武生","村支书兼主任","刘融","水利员","张建明","安全管理员"]
[10,"茨蓬垅水库",59,21.7,57,18.2,null,56,{"v":17.880701754385964,"d":"17.9"},57,18.2,"坝脚反滤体杂草较多","张福寿","副乡长","陈耿","八级职员","张武生","村支书兼主任","刘融","水利员","张瑶","安全管理员"]
[11,"扑克垅水库",76.2,17.1,74.5,14.4,74.9,73.5,{"v":14.206711409395973,"d":"14.2"},74.5,14.4,"加强巡查","朱雪明","人武部长","陈耿","八级职员","丁芳铨","村支书兼主任","刘融","水利员","丁元生","安全管理员"]
[12,"胎塘垅水库",56.7,13,54.7,{"v":12.541446208112875,"d":"12.5"},56,53.7,{"v":12.312169312169312,"d":"12.3"},54.7,{"v":12.541446208112875,"d":"12.5"},"加强巡查","朱雪明","人武部长","陈耿","八级职员","丁芳铨","村支书兼主任","刘融","水利员","丁良包","安全管理员"]
[13,"祝家垅水库",76.5,14.6,74.2,11.7,74.8,73.2,{"v":11.54231805929919,"d":"11.5"},74.2,11.7,"加强巡查","徐宇辉","乡人大主席","陈耿","八级职员","刘爱武","村支书兼主任","刘融","水利员","滕忠辉","安全管理员"]
[14,"对塘垅水库",74.2,17.2,72.5,15.1,73,71.5,{"v":14.891724137931034,"d":"14.9"},72.5,15.1,"加强巡查","徐宇辉","乡人大主席","陈耿","八级职员","刘爱武","村支书兼主任","刘融","水利员","吴顺前","安全管理员"]
[15,"黄泥坞水库",91.4,16.9,88.7,12.4,89.3,87.7,{"v":12.260202931228863,"d":"12.3"},88.7,12.4,"加强巡查","徐宇辉","乡人大主席","陈耿","八级职员","刘爱武","村支书兼主任","刘融","水利员","杨茂彪","安全管理员"]
[16,"禾尚帽水库",89.6,10.2,86.5,8.2,87.11,85.5,{"v":8.105202312138728,"d":"8.1"},86.5,8.2,"加强巡查","徐宇辉","乡人大主席","陈耿","八级职员","刘爱武","村支书兼主任","刘融","水利员","张学斌","安全管理员"]
[17,"大岩垅水库",80.4,11,78.3,{"v":8.299999999999999,"d":"8.3"},78.9,77.3,{"v":8.193997445721584,"d":"8.2"},78.3,{"v":8.299999999999999,"d":"8.3"},"加强巡查","徐宇辉","乡人大主席","陈耿","八级职员","刘爱武","村支书兼主任","刘融","水利员","滕新华","安全管理员"]
[18,"上洪源水库",77.5,21.8,75.4,19.5,null,74.4,{"v":19.241379310344826,"d":"19.2"},75.4,19.5,"加强巡查","田飞","党委委员、组织委员","陈耿","八级职员","钟伏海","村支书兼主任","刘融","水利员","徐水保","安全管理员"]
[19,"蒋家水库",80,61.91,74,51.7,74.6,73,{"v":51.00135135135136,"d":"51.0"},74,51.7,"加强巡查","田飞","党委委员、组织委员","陈耿","八级职员","钟伏海","村支书兼主任","刘融","水利员","滕礼花","安全管理员"]
[20,"金家亭水库",90.5,12.2,87.9,10.6,88.2,86.9,{"v":10.479408418657565,"d":"10.5"},87.9,10.6,"加强巡查","余杰","司法所长","陈耿","八级职员","滕建华","村支书兼主任","刘融","水利员","刘海平","安全管理员"]
[21,"立塘水库",90.4,13.8,88,11.9,88.3,87,{"v":11.764772727272726,"d":"11.8"},88,11.9,"加强巡查","余杰","司法所长","陈耿","八级职员","滕建华","村支书兼主任","刘融","水利员","丁洁明","安全管理员"]
[22,"周家背水库",75.25,14.1,72.9,11.4,73.3,71.9,{"v":11.243621399176954,"d":"11.2"},72.9,11.4,"加强巡查","余杰","司法所长","陈耿","八级职员","滕建华","村支书兼主任","刘融","水利员","周贵生","安全管理员"]
[23,"汤家垅水库",70.9,38.8,68.5,{"v":24.200000000000003,"d":"24.2"},69.2,67.5,{"v":23.846715328467155,"d":"23.8"},68.5,{"v":24.200000000000003,"d":"24.2"},"加强巡查","余杰","司法所长","陈耿","八级职员","滕建华","村支书兼主任","刘融","水利员","叶高龙","安全管理员"]
[24,"杉树坞水库",120,20.19,117.5,{"v":15.600000000000001,"d":"15.6"},118.3,116.5,{"v":15.467234042553192,"d":"15.5"},117.5,{"v":15.600000000000001,"d":"15.6"},"加强巡查","刘晨","乡人大副主席","陈耿","八级职员","朱河孝","村支书兼主任","刘融","水利员","邱荣富","安全管理员"]
[25,"张家塘水库",101.3,11.7,99.3,{"v":10,"d":"10.0"},99.7,98.3,{"v":9.899295065458208,"d":"9.9"},99.3,{"v":10,"d":"10.0"},"加强巡查","刘晨","乡人大副主席","陈耿","八级职员","朱河孝","村支书兼主任","刘融","水利员","游高金","安全管理员"]
[26,"王家桥水库",{"v":150,"d":"150.0"},72.2,147.59,45,149.36,146.59,42,147.59,45,"坝坡杂草丛生","涂珮瑶","纪检书记","黎海根","乡党委委员、武装部长","黄克春","村支部书记","廖怀鹏","水务站长","包有清","安全管理员"]
[27,"王家塘水库",123.5,20.8,121.26,16.2,122.05,120.26,13,121.26,16.2,"加强巡查","苏  卉","党委副书记 ","黎海根","乡党委委员、武装部长","徐恩贵","村支部书记","廖怀鹏","水务站长","徐祖清","安全管理员"]
[28,"里杨水库",60.5,10.5,{"v":58,"d":"58.00"},7.5,58.7,57,6.2,{"v":58,"d":"58.00"},7.5,"坝坡杂草丛生","俞丽钦","常务副乡长","黎海根","乡党委委员、武装部长","饶万军","负责人","廖怀鹏","水务站长","杨小龙","安全管理员"]
[29,"油菜湾水库",165,30,161.4,20,161.4,160.4,19.88,161.4,20,"加强巡查","章嘉佳","党委副书记","欧树兵","人大主席","李世录","村支书","金剑伟","水利员","郑时彬","水库安全管理员"]
[30,"刘家坞水库",99,72.7,94.5,48.1,95.9,93.5,47.59,94.5,48.1,"溢洪道存在障碍物，水泵房未安装隔离门，水泵两侧地面存在半米镂空，有安全隐患","吴佳丽","常务副乡长","欧树兵","人大主席","李世录","村支书","金剑伟","水利员","杨著明","水库安全管理员"]
[31,"童家水库",134.3,12.8,132.2,11.2,132.8,131.2,11.12,132.2,11.2,"加强巡查","苏代辉","党委委员、纪委书记","欧树兵","人大主席","童星","村支书","金剑伟","水利员","童小军","水库安全管理员"]
[32,"倒石岩水库",98.91,15.1,97.54,13.399999999999999,98.02,96.54,14.45,97.54,13.399999999999999,"加强巡查","陈伟","司法所长","欧树兵","人大主席","童星","村支书","金剑伟","水利员","徐宗文","水库安全管理员"]
[33,"花岩水库",102,20.3,99.4,15.8,100.6,98.4,15.64,99.4,15.8,"加强巡查","吴 平","党委委员武装部长","欧树兵","人大主席","李胜敏","村支书","金剑伟","水利员","陈利军","水库安全管理员"]
[34,"桃树岩水库",85,58.77,82.7,46.8,84.8,81.7,46.23,82.7,46.8,"加强巡查","许香花","党委委员","欧树兵","人大主席","付文龙","村支书","金剑伟","水利员","王和良","水库安全管理员"]
[35,"大西塘水库",97.8,12.1,96,11.1,97.3,95,10.98,96,11.1,"加强巡查","徐抒伟","副乡长","欧树兵","人大主席","付文龙","村支书","金剑伟","水利员","周就满","水库安全管理员"]
[36,"曾家水库",108.4,21.2,104.8,13.37,107.14,103.8,10.24,104.8,13.37,"加强巡查","欧阳志英","人大主席","徐  峰","党委副书记","陈德平","村书记","陈赞泉","青板乡水务站","陈其财","安全员"]
[37,"和尚坞水库",94.7,31.06,90.5,23.4,91.7,89.5,21.2,90.5,23.4,"溢洪道有少量碎石和杂草","徐  峰","党委副书记","徐  峰","党委副书记","杨中华","村书记","陈赞泉","青板乡水务站","徐人财","安全员"]
[38,"蛇形湾水库",127,18.55,125,16.32,null,124,15.8,125,16.32,"加强巡查","刘紫薇","纪委书记","徐  峰","党委副书记","戴元柏","村书记","陈赞泉","青板乡水务站","陈远太","安全员"]
[39,"烂泥塘水库",107,25.47,102.5,18,103.4,101.5,16.8,102.5,18,"加强巡查","吴琳华","副乡长","徐  峰","党委副书记","陈春兰","村书记","陈赞泉","青板乡水务站","李振兴","安全员"]
[40,"马屎窟水库",80.7,10.69,78.2,8.56,78.91,77.2,7.6,78.2,8.56,"加强巡查","何思发","党委委员、副乡长","徐  峰","党委副书记","李勇","村书记","陈赞泉","青板乡水务站","李小海","安全员"]
[41,"冷腰水库",55,16.3,111,12.1,112.9,110,8.5,111,12.1,"加强巡查","张照林","人大副主席","徐  峰","党委副书记","张洋","村书记","陈赞泉","青板乡水务站","杨维富","安全员"]
[42,"周家坊水库",98.8,42.02,95.6,31,96.6,94.6,27.56,95.6,31,"溢洪道有少量碎石和杂草","汤哲熠","副乡长","徐  峰","党委副书记","陈德平","村书记","陈赞泉","青板乡水务站","张照火","安全员"]
[43,"戴家坞水库",126,25.39,122.8,22,123.95,121.8,19.6,122.8,22,"加强巡查","何思发","党委委员、副乡长","徐  峰","党委副书记","李勇","村书记","陈赞泉","青板乡水务站","李章兴","安全员"]
[44,"西坑水库",203.5,108.33,197.7,63,197.7,196.7,55.46,197.7,63,"加强巡查","张聪","副镇长","邓国松","副镇长","杨远飞","村支部书记","万彧","水务站长","周连炳","水库安全员"]
[45,"考坑水库",223,14.2,219.7,11.3,221.2,218.7,10.31,219.7,11.3,"加强巡查","韩龙","副书记","邓国松","副镇长","骆生泉","村总支副书记","万彧","水务站长","骆兵旺","水库安全员"]
[46,"天堂岭水库",130.6,52.88,128.5,48.67,null,127.5,48,128.5,48.67,"加强巡查","刘 晗","岑阳镇人民政府 镇长","丁首台","岑阳镇党委委员、人武部长","余永兵","村支部书记书兼主任","姜光文","水务站长","汪振府","安全员"]
[47,"钱家垅水库",93.2,23.4,90.7,17.8,{"v":91.85,"d":"91.9"},89.7,14,90.7,17.8,"加强巡查","刘 晗","岑阳镇人民政府 镇长","陈桂仙","岑阳镇党委委员、组织员","黄  兵","村支部书记书兼主任","姜光文","水务站长","杨加庭","安全员"]
[48,"杨家垅水库",83.6,11.3,{"v":81,"d":"81.0"},{"v":9.43,"d":"9.4"},81.6,{"v":80,"d":"80.0"},7.6,81,9.43,"加强巡查","刘 晗","岑阳镇人民政府 镇长","徐 俊","党委委员副镇长","毛其福","支部副书记","姜光文","水务站长","毛其喜","安全员"]
[49,"姜源垅水库",{"v":83,"d":"83.0"},21.6,80.4,17.8,null,79.4,12.3,80.4,17.8,"加强巡查","刘 晗","岑阳镇人民政府 镇长","万枭翔","岑阳镇党委委员、副书记","毛先有","村支部书记书兼主任","姜光文","水务站长","杨小林","安全员"]
[50,"胜利水库",{"v":100,"d":"100.0"},{"v":60.92,"d":"60.9"},{"v":97,"d":"97.0"},{"v":40,"d":"40.0"},{"v":98.45,"d":"98.5"},{"v":96,"d":"96.0"},27.9,{"v":97,"d":"97.0"},{"v":40,"d":"40.0"},"加强巡查","刘 晗","岑阳镇人民政府 镇长","兰  平","岑阳镇副镇长","李春根","村副书记","姜光文","水务站长","谢发仁","安全员"]
[51,"瓦石塘水库",86.5,{"v":10.17,"d":"10.2"},{"v":84.15,"d":"84.2"},{"v":8.23,"d":"8.2"},84.8,{"v":83.15,"d":"83.2"},8.1,{"v":84.15,"d":"84.2"},{"v":8.23,"d":"8.2"},"加强巡查","刘 晗","岑阳镇人民政府 镇长","徐建华","人大主席","廖祖清","村支部书记书兼主任","姜光文","水务站长","钱秋林","安全员"]
[52,"形源坞水库",143,81.03,141.5,74.3,0,139.5,{"v":72.3,"d":"72.30"},139.5,74.3,"加强巡查","刘晗","岑阳镇人民政府 镇长","滕长顺","镇综合执法大队队长","余永兵","村支部书记书兼主任","姜光文","水务站站长","饶木来","水库安全员"]
[53,"南基湾水库",145.4,12.8,142.56,10,143.5,140.56,7.8,141.56,9.2,"加强巡查","孙康","龙门畈乡人大副主席","徐钱仔","龙门畈乡纪委书记","胡先忠","支书","梅良凯","水务站长","方卫国","安全员"]
[54,"圩里水库",140.2,13.4,137.3,8.58,138.8,135.3,6.8,136.3,7.6,"加强巡查","孙康","龙门畈乡人大副主席","方原","龙门畈乡副书记","周照平","支书","梅良凯","水务站长","钱庆塘","安全员"]
[55,"童山水库",122,12.19,119.7,9.799999999999999,120.5,117.7,{"v":8.67263157894737,"d":"8.67"},118.7,{"v":8.746315789473684,"d":"8.75"},"加强巡查","孙康","龙门畈乡人大副主席","孙康","龙门畈乡人大副主席","徐金火","支书","梅良凯","水务站长","范章玉","安全员"]
[56,"杉树湾水库",126.9,13.5,125.3,13.8,125.8,123.3,{"v":12.221755786113329,"d":"12.22"},124.3,{"v":12.320877893056664,"d":"12.32"},"加强巡查","孙康","龙门畈乡人大副主席","李翔","龙门畈乡常务副乡长","汪美坤","支书","梅良凯","水务站长","方初忠","安全员"]
[57,"虎岩水库",59.8,12,57.5,6.9,null,56.5,6.6,57.5,6.9,"加强巡查","徐彩芳","乡党委委员、组织员","陈茂实 ","人大主席","蔡贞冬","村支书","杨希圣","水利员","蔡银生","安全员"]
[58,"清塘水库",75,55.3,72.4,51.6,73.1,71.4,48.1,72.4,51.6,"加强巡查","刘厚愈","乡综合行政执法大队大队长","陈茂实 ","人大主席","蔡贞冬","村支书","杨希圣","水利员","侯培荣","安全员"]
[59,"长坞垅水库",124.5,10.4,121.2,7.1,122.4,119.2,{"v":6.284554455445544,"d":"6.28"},120.2,{"v":6.337277227722772,"d":"6.34"},"加强巡查","曾令剑","乡武装部长","陈茂实 ","人大主席","张雷平","村支书","杨希圣","水利员","张传志","安全员"]
[60,"大山口水库",133.2,15.68,129.9,9.85,131.25,127.9,{"v":8.7285103926097,"d":"8.73"},128.9,{"v":8.79675519630485,"d":"8.80"},"加强巡查","邓子书","党委副书记","陈茂实 ","人大主席","林志福","村支书","杨希圣","水利员","林宗牛","安全员"]
[61,"龙头水库",69.5,35.9,67.35,30.8,67.8,65.35,{"v":26.89683741648107,"d":"26.90"},66.35,{"v":27.308418708240538,"d":"27.31"},"加强巡查","邓子书","党委副书记","陈茂实 ","人大主席","林志福","村支书","杨希圣","水利员","林格银","安全员"]
[62,"破塘水库",108.5,21.2,105.8,16.2,null,104.8,14.2,105.8,16.2,"加强巡查","王建华","副乡长","陈茂实 ","人大主席","兰林祥","村支书","杨希圣","水利员","林菊梅","安全员"]
[63,"板塘垅水库",69,25.1,65.3,21.2,65.78,64.3,18.3,65.3,21.2,"加强巡查","邓子书","党委副书记","陈茂实 ","人大主席","林志福","村支书","杨希圣","水利员","李丁根","安全员"]
[64,"坞石坪水库",81.5,24.9,79.3,21.200000000000003,79.7,77.3,{"v":18.598789407314,"d":"18.6"},78.3,{"v":18.839394703657,"d":"18.8"},"加强巡查","曾令剑","乡武装部长","陈茂实 ","人大主席","张雷平","村支书","杨希圣","水利员","张显有","安全员"]
[65,"大沙塘水库",83.2,10.5,79.25,6.8,80.4,78.25,5.6,79.25,6.8,"加强巡查","陈薇薇","副乡长","陈茂实 ","人大主席","柯修春","村主任","杨希圣","水利员","李小平","安全员"]
[66,"虎山垅水库",66,58,63,40.800000000000004,null,62,38.6,63,40.800000000000004,"加强巡查","邓子书","党委副书记","陈茂实 ","人大主席","林志福","村支书","杨希圣","水利员","苏木财","安全员"]
[67,"泉湖塘水库",59.6,37.9,57,26.2,57.6,55,{"v":22.75263157894737,"d":"22.75"},56,{"v":23.166315789473682,"d":"23.17"},"加强巡查","王玉峰","副乡长","陈茂实 ","人大主席","黄先平","村支书","杨希圣","水利员","黄知锡","安全员"]
[68,"打石坞水库",87.5,10.8,85.3,8,86.7,84.3,6.5,85.3,8,"加强巡查","王玉峰","副乡长","陈茂实 ","人大主席","黄先平","村支书","杨希圣","水利员","高锡财","安全员"]
[69,"岑山洞水库",97,21.1,94.5,17.8,95.7,93.5,15.4,94.5,17.8,"因建设森林防火阻隔带导致溢洪道临时堵塞，无法行洪，有安全隐患","余志刚","林业发展中心主任","张建华","林业发展中心副主任","范蕴涛","岑山森林公园主任","陈建军","公园职工","陈树和","安全员"]
[70,"天台山水库",107.1,33,104.1,23.2,106,103.1,21.5,104.1,23.2,"因建设森林防火阻隔带导致溢洪道临时堵塞，无法行洪，有安全隐患；斜涵和消力井有渗水现象","余志刚","林业发展中心主任","张建华","林业发展中心副主任","范蕴涛","岑山森林公园主任","陈建军","公园职工","周春生","安全员"]
[71,"七里垅水库",85,26.04,82.3,20.3,83.1,81.3,19.5,82.3,20.3,"加强巡查","付向占","农业农村局副局长","滕学龙","农业农村局副局长","曹丽琴","副科级","谢卫忠","农业农村局技术员","汪斯富","安全管理员"]
[72,"梅家垅水库",60,10.7,57.8,8.6,null,56.8,8.4,57.8,8.6,"大坝内坡杂草较多","宋伟","党委副书记、主任","滕志强","党工委委员、副主任","徐 明","村支书","梅智勇","水务站站长","姜丽生","水库安全员"]
[73,"庄屋垅水库",60.8,25.8,59.37,24.3,60.17,58.37,23.5,59.37,24.3,"加强巡查","宋伟","党委副书记、主任"," 陶锡虎","党工委副书记","徐 明","村支书","梅智勇","水务站站长","童有旺","水库安全员"]
[74,"郑家楼水库",70.5,21.9,67,16.6,67.24,66,14.2,67,16.6,"加强巡查","宋伟","党委副书记、主任","廖德贵","综合行政执法大队八级职员","徐 明","村支书","梅智勇","水务站站长","钟裕财","水库安全员"]
[75,"军垅水库",69.3,15.7,67,10.100000000000001,68,66,8.5,67,10.100000000000001,"加强巡查","宋伟","党委副书记、主任","刘利军","人大工委主任","徐 明","村支书","梅智勇","水务站站长","徐海平","水库安全员"]